## Sheet1
Monthly Building Report
I affirm that this report is true and correct and that all work reported on this form has been accomplished by me or under my supervision.
Copies of this report are to be submitted to the operations department, the building principal, and the supervisor of maintenance.
School Name |  | Date |  |  | Foreman
Building foreman's signature
1. Smoke detectors |  | All detectors checked and operational |  |  |  | Detector inoperable (location)
|  |  | Yes | No
2. Pull stations |  | All pull stations visually inspected |  |  |  | Broken glass, etc. (location)
|  |  | Yes | No
3. Strobes/horns |  | All strobes/horns checked and operational |  |  |  | Explanation of any problem
|  |  | Yes | No
4. Fire extinguishers |  | All inspection tags checked and current |  |  |  | Tags out of date (location)
|  |  | Yes | No
5. Building alarm |  | Sequence current and verified
|  |  | Yes | No |  | Auto-arm time
Auto-disarm time
Weekend status
Holiday status
Holiday status
6. Sprinkler systems | [5 empty] | Concerns
| Tag current |  | Yes | No
| Valve locked open |  | Yes | No
| No leaks |  | Yes | No
7. Boiler certificate |  | Current and displayed properly |  |  |  | Concerns
| Boiler #1 |  | Yes | No
| Boiler #2 |  | Yes | No
| Boiler #3 |  | Yes | No
| Boiler #4 |  | Yes | No
8. Flammable/combustible |  | All electrical panels and boiler rooms |  |  |  | Unobstructed clearance of 3 feet
free of flammable materials
|  |  | Yes | No |  |  | Yes | No
10. Playground Equipment |  | Equipment and fall zones safe |  |  |  | Concerns
|  |  | Yes | No
11. Emergency generator (s) |  | Checked monthly for proper operation
|  |  | Yes | No |  | Dated checked
|  |  | Yes | No |  | Dated checked
12. Emergency lighting |  | All emergency lighting checked |  |  |  | Problem (location)
for proper operation
|  |  | Yes | No
13. Custodial Equipment |  | All checked for proper operation |  |  | All electrical cords checked for safe operations
|  |  | Yes | No |  |  | Yes | No
14. Custodial Equipment |  | Stored properly and not blocking |  |  |  | Comments
electrical panels/MSDS sheets file
|  |  | Yes | No
15. Elevator | [5 empty] | Comments
| Permit current | Yes | No | N/A
| Permit properly posted | Yes | No | N/A
| Elevator operating properly | Yes | No | N/A
16. Air handler/univent equipment
Last date filters changed
Last date motors lubricated
Last date belts checked/replaced
17. Exhaust fans
Last date checked for proper operation
Last date belts checked/replaced
|  | Operating properly |  | Maintenance needed |  |  | Date work order submitted
18. Exit signs |  | Yes | No
19. Boiler operation |  | Yes | No
20. Air compressor |  | Yes | No
21. Air handlers |  | Yes | No
22. Chiller (s) |  | Yes | No
23. Water heater certificate |  | Yes | No
|  | Permit current |  |  |  | 5 foot clearance around kiln
24. Art kiln room |  |  | Yes | No |  |  | Yes | No
25. Kitchen hood fire suppression system |  |  | Permit current |  |  | Posted properly
|  |  | Yes | No |  |  | Yes | No
26. Floor drains |  |  | Full of water
|  |  | Yes | No
27. Roof drains |  |  | Free of debris and draining properly |  |  |  | Comments
|  |  | Yes | No
Last date checked
28. Carpet spots |  | All known spots removed |  |  |  | Comments
|  |  | Yes | No
29. Carpet repairs |  | All carpet in good condition including |  |  |  | Comments
transition strips
|  |  | Yes | No
30. Ceramic tile floors |  | Last date grout machine used |  |  | Dates port-a-scrubber used
kitchen
rest rooms
locker rooms
31. Wall base |  | Clean and no black marks
|  |  | Yes | No
32. Weekly custodial evaluation |  | PDA custodian evaluations attached |  |  |  | Comments
|  | Yes | No | N/A
33. Weekly campus trash, litter, and debris inspection |  |  |  |  | Date inspected
Date inspected
Date inspected
Date inspected
34. Work injuries |  | Accident report submitted immediately after all injuries |  |  |  | List name and date of accident
|  |  | Yes | No
Indicate areas of concern in your building